## Slide 1: Analysis of the energy sustainability of Machine Learning algorithms
Students:
Yin Jun
Tutors:
Prof. Meo Michela
Prof. Vallero Greta
23/10/2023
First presentation

## Slide 2: Step
1. Preliminary definition of scenarios of interest, KPIs, and case studies that will be used in the development of the energy assessment methodologies
2. Development of models for assessing the environmental impact of centralized AI algorithms
3. Development of models for the environmental impact of AI algorithms in distributed learning

## Slide 3: Step1
https://github.com/sovrasov/flops-counter.pytorch
 | Alexnet | VGG-11 | Resnet-18 | GoogLeNet
MACs | 940.95 M | 7.58 G | 1.75 G | 1.52 G
Number of Parameters | 46.76 M | 128.81 M | 11.18 M | 5.98 M
Average energy of each round | 34430.087 J | 113015.843 J | 112909.394 J | 124845.577 J
Average time of each round | 437.3 s | 1419.5 s | 1417.9 s | 1567.8 s
Average final reached train acc | 87.92% | 97.42% | 97.43% | 81.73%
Average final reached test acc | 87.99% | 89.31% | 89.85% | 81.88%
Dataset: FashionMnist
Original size: 1*28*28 pixels
Device: RTX3060(maximum power 80W)
Deep Learning Models:
MACs(Multiply-Accumulate Operations)
The unit for measuring the computational complexity of a deep learning model
The energy, time, final reached train acc and test acc results are the averaged valued of 10 rounds simulation
Get data through various simulations to build model for calculate power consumption

## Slide 4: Step1
https://github.com/sovrasov/flops-counter.pytorch
 | Alexnet | VGG-11 | Resnet-18 | GoogLeNet
MACs | 940.95 M | 7.58 G | 1.75 G | 1.52 G
Number of Parameters | 46.76 M | 128.81 M | 11.18 M | 5.98 M
Average energy of each round | 33635.658 J | 101025.244 J | 33225.415 J | 111809.926 J
Average time of each round | 180.7 s | 388.1 s | 174.6 s | 397.4 s
Average final reached train acc | 88.00% | 97.42% | 87.98% | 82.26%
Average final reached test acc | 88.23% | 89.07% | 88.04% | 81.46%
Dataset: FashionMnist
Original size: 1*28*28 pixels
Device: RTX4090(maximum power 450W)
Deep Learning Models:
MACs(Multiply-Accumulate Operations)
The unit for measuring the computational complexity of a deep learning model
The energy, time, final reached train acc and test acc results are the averaged valued of 10 rounds simulation
Get data through various simulations to build model for calculate power consumption

## Slide 5: Time consumption of each part of simulation(3060)
Alexnet
VGG-11
Resnet-18
GoogLeNet

## Slide 6: Time consumption of each part of simulation(4090)
Alexnet
VGG-11
Resnet-18
GoogLeNet

## Slide 7: Average time & energy consumption, train & test acc(3060)
Alexnet
VGG-11
Resnet-18
GoogLeNet

## Slide 8: Average time & energy consumption, train & test acc(4090)
Alexnet
VGG-11
Resnet-18
GoogLeNet

## Slide 9: Simulation result
For deep learning models, using synchronize can perfectly measure time consumption of each step during the training part.
All the data are using average values of 10 rounds simulation, with each round contains 10 epochs. And the average time consumption results of each epoch in different deep learning models are almost the same with a variation of less than 1 second.
During the training part, the two most time-consuming parts are the backward and the forward.
The MACs(Multiply-Accumulate Operations) can be used as a parameter to do the energy consumption prediction of a given deep learning model.
In the table presented in the first slide, the Resnet and VGG have better test accuracy than Alexnet about 2% but consume over 3 times the energy, which might be due to the dataset.
Using different GPUs can result significantly different running times, and some algorithms in different hardware may have significantly different energy consumption.
Next step:
Try to find more KPIs for building a model to calculate energy consumption
  Number of Parameters
  MACs
  Computational parallelism
  Hardware Utilization
  Communication Overhead

## Slide 10: Step
1. Preliminary definition of scenarios of interest, KPIs, and case studies that will be used in the development of the energy assessment methodologies
2. Development of models for assessing the environmental impact of centralized AI algorithms
3. Development of models for the environmental impact of AI algorithms in distributed learning

## Slide 11: Step2
PVWatts Hourly PV Performance Data |  | 
Requested Location | turin | 
Location | TORINO-CASELLE, ITALY | 
Latitude (DD) | 45.18 | 
Longitude (DD) | 7.65 | 
Elevation (m) | 282 | 
DC System Size (kW) | 14.2 | 
Module Type | Standard | 
Array Type | 2-Axis Tracking | 
Array Tilt (deg) | 0 | 
Array Azimuth (deg) | 180 | 
System Losses (%) | 14.08 | 
DC to AC Size Ratio | 1.2 | 
Inverter Efficiency (%) | 96 | 
Ground Coverage Ratio | NA | 
Albedo | From weather file | 
Bifacial | No (0) | 
Monthly Irradiance Loss (%) |  | 
 | Jan | 0
 | Feb | 0
 | Mar | 0
 | Apr | 0
 | May | 0
 | June | 0
 | July | 0
 | Aug | 0
 | Sept | 0
 | Oct | 0
 | Nov | 0
 | Dec | 0

## Slide 12: Step2
Preliminary set: energy consumption for training a model to a given accuracy is 10000kWh
Format of the hourly data
Format of the monthly data

## Slide 13: Scenario 1
Preliminary set: energy consumption for training a model to a given accuracy is 3000kWh
7765th hour
the day is: 323 the hour is: 13
The power all comes from solar panels, if the generated power reaches certain level, the data center will allocate the corresponding computational speed
the total energy consumption is: 13185.2 kWh
Notes: 1. not mix with the pue(for now)
focusing on the computation

## Slide 14: Scenario 2
Preliminary set: energy consumption for training a model to a given accuracy is 3000kWh
4960th hour
the day is: 206 the hour is: 16
The power mainly comes from solar panels, if the generated power reaches certain level, the data center will allocate corresponding computational speed of the upper level by consuming power from the grid
The total power consumed is: 12114.8 kWh
The total energy consumption from the grid is: 2848.87 kWh

## Slide 15: Scenario 3
Preliminary set: energy consumption for training a model to a given accuracy is 3000kWh
4960th hour
the day is: 206 the hour is: 16
The power all comes from solar panels, at each time the power that cannot be consumed by the training will be save to an ideal battery with no upper limit, when the energy stored reaches to the 10000Wh, the battery will be the power supply to make the data center train the model at the speed of 4.0 mode.
the total power consumed is: 10395.6 kWh
Notes: check why the time is same with scenario 2
1.datacenter数据需要验证，对里面的数据的验证
2. battery部分需要加上损失，通过论文来验证一下损失大概要多少
3. case考虑到一直用到最高速度的情况下，大概需要多少电能（从电网）
4. 考虑经济效应的话，晚上去考虑训练的部分，费用花费的情况是什么样的
5. 3000kWh能够达到的准确度
6. acc & energy consumption & time & price relation
7. 目前先不考虑PUE的事情，之后再加入

## Slide 16: DVFS, battery round-trip efficiency
Dynamic voltage and frequency scaling (DVFS)
https://www.eia.gov/todayinenergy/detail.php?id=46756
According to data from the U.S. Energy Information Administration (EIA), in 2019, the U.S. utility-scale battery fleet operated with an average monthly round-trip efficiency of 82%
Notes: 电池大小是否会有效率上的区别

## Slide 17: Energy consumption and acc
FashionMNIST
AlexNet
CIFAR100
AlexNet
6 Billion Parameter Transformer. We tracked the energy consumption of training a large language model comprising over 6.1 billion parameters during 8 days on 256 NVIDIA A100s. The total energy amounted to a staggering 13.8 MWh. This model was not trained to completion, but only until 13%; a full training run would take 60 days. Thus, we estimate the total energy consumption to train this model to completion would be approximately (60/8) ∗ 13.8 = 103.5 MWh, or 103,500 kWh — almost 2800 times more than training the BERT-small model!
Dodge, Jesse, Taylor Prewitt, Remi Tachet des Combes, Erika Odmark, Roy Schwartz, Emma Strubell, Alexandra Sasha Luccioni, Noah A. Smith, Nicole DeCario, and Will Buchanan. "Measuring the carbon intensity of ai in cloud instances." In Proceedings of the 2022 ACM conference on fairness, accountability, and transparency, pp. 1877-1894. 2022.
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 18: Next step
1. Use DVFS to adjust the GPU power limit to satisfy the power generated by PV panels
2. Extra power generated by PV panels will be saved to a storage battery
3. Set a deadline of the training job, and to maximize the green energy consumption
4. Calculate the final percentage that can be saved from grid
Notes: follow the sun——paper name
optimize the location, multiple tasks, and how to manage it

## Slide 19: Energy consumption and acc
avg Power per second and std
avg energy per epoch and the acc
avg Power per second and avg energy per epoch
total energy per epoch and the acc
Dataset: Fashion_MNIST
Model: Alexnet
Device Max Power:95W
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 20: Energy consumption and acc
avg Power per second and std
avg energy per epoch and the acc
avg Power per second and avg energy per epoch
total energy and the acc
Dataset: Fashion_MNIST
Model: Alexnet
Device Max Power:450W
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 21: Energy consumption and acc
Dataset: CIFAR100
Model: Alexnet
Device Max Power:450W
total energy and the acc
avg energy per epoch and the acc
avg Power per second and avg energy per epoch
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 22: Different Power limit performance
Dataset: Fashion_MNIST
Model: Alexnet
Device Max Power:95W
Epoch=10, batchsize=128
Total energy consumption and acc under different power limit
Total energy consumption and acc under different power limit
Dataset:CIFAR100
Model: Alexnet
Device Max Power:95W
Epoch=5, batchsize=128
avg running time and avg energy consumption of each epoch
avg running time and avg energy consumption of each epoch
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 23: last week unsolved problem
Distribution of the avg power in each epoch in different epoch & batchsize combination
Dataset: Fashion_MNIST
Model: Alexnet
Epoch: 10
Epoch: 20
Epoch: 30
Epoch: 40
Epoch: 50

## Slide 24: last week unsolved problem
Distribution of the avg power in each epoch in different epoch & batchsize combination
Dataset: CIFAR100
Model: Alexnet
Epoch: 10
Epoch: 20
Epoch: 30
Epoch: 40
Epoch: 50
Epoch: 80

## Slide 25: Energy dispatch
+
+
Data Center
Model training request
Storage Battery
Solar Panels
Power Grid
-
+

## Slide 26: Energy dispatch
avg GPU power / W | 100 | 125 | 150 | 175 | 200 | 225 | 250
Training time / s (approximate) | 60000 | 50000 | 46000 | 45000 | 44000 | 42000 | 40000
Training process
Objective function
(): electricity cost of each time slot by data center
(): power generated by solar panels
() : unit price generated by solar panels
(): power generated by grid
() : unit price generated by grid
(): power sold back to grid
() : unit price of sold back to grid
= 1 hour
Cost function
You, Jie, Jae-Won Chung, and Mosharaf Chowdhury. "Zeus: Understanding and optimizing {GPU} energy consumption of {DNN} training." In 20th USENIX Symposium on Networked Systems Design and Implementation (NSDI 23), pp. 119-139. 2023.
100h
66.6h
Notes: 暂时先不考虑太阳能的部分
用最优的方案，看看能剩多少钱，比较两种极端情况，计算最终能够节省下来的钱有多少能够用到安装太阳能电池板上
注意一下如果按照这个数据来进行计算的话要考虑开始时间，早上的话太阳能多，晚上的话太阳能少但是电价便宜

## Slide 27: Energy dispatch
Solar panels
s.t. :
(): power to supply the data center
(): power to restore to the battery
(): power sold back to grid
Grid
(): power to supply the data center
(): power to restore to the battery
ESD (energy storage device)
Charge efficiency : 85% ~ 95%
Discharge efficiency : 85% ~ 95%
Self discharge efficiency : 0.1% ~ 0.3%
Charge to data center:
Charge to grid:
Data center
+
=
Charge ESD
Back to grid
ESD power in each time slot
=0

## Slide 28
+
Data Center
Model training request [1]
Max. GPU power P(w) | 100 | 125 | 150 | 175 | 200 | 225 | 250
Appr. training time T(h) | 16 | 14 | 13 | 12.5 | 12 | 11.5 | 11
Rate |  |  |  |  |  |  | 
Max. GPU power P(w) | 100 | 125 | 150 | 175 | 200 | 225 | 250
Appr. training time T(h) | 16 | 14 | 13 | 12.5 | 12 | 11.5 | 11
Rate |  |  |  |  |  |  | 
Power supply

## Slide 29
+
Data Center
Model training request
Max. GPU power P(w) | 100 | 125 | 150 | 175 | 200 | 225 | 250
Appr. training time T(h) | 16 | 14 | 13 | 12.5 | 12 | 11.5 | 11
Appr. training time T(h) | 32 | 28 | 26 | 25 | 24 | 23 | 22
Power supply

## Slide 30: Energy dispatch
Objective function
(): electricity cost of each time slot by data center
(): power generated by solar panels
() : unit price generated by solar panels
(): power generated by grid
() : unit price generated by grid
(): power sold back to grid
() : unit price of sold back to grid
= 1 hour
Cost function
Notes: 暂时先不考虑太阳能的部分
用最优的方案，看看能剩多少钱，比较两种极端情况，计算最终能够节省下来的钱有多少能够用到安装太阳能电池板上
注意一下如果按照这个数据来进行计算的话要考虑开始时间，早上的话太阳能多，晚上的话太阳能少但是电价便宜

## Slide 31: Energy dispatch
Solar panels
s.t. :
(): power to supply the data center
(): power to restore to the battery
(): power sold back to grid
Grid
(): power to supply the data center
(): power to restore to the battery
ESD (energy storage device)
Charge efficiency : 85% ~ 95%
Discharge efficiency : 85% ~ 95%
Self discharge efficiency : 0.1% ~ 0.3%
Charge to data center:
Charge to grid:
Data center
+
Charge ESD
Back to grid
ESD power in each time slot
=0
(): training time [16, 14, 13, 12.5, 12, 11.5, 11]
(): supplied power to data center [100, 125, 150, 175, 200, 225, 250]

## Slide 32: Energy dispatch – case study
Notes: 考虑多个情况：
1.全功率运行的情况
2.启动时间
3.整理，并且开始写论文

## Slide 33: Simulation results with ResNet
Dataset: Fashion_MNIST
Batch_size:256
Epoch:50
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 34: Simulation results with ResNet
Dataset: CIFAR100
Batch_size:256
Epoch:40
Notes: 用这个能耗来带入epoch300那个，来估算

## Slide 35: Simulation results with ResNet
https://pytorch.org/vision/stable/models.html
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 36: Simulation results with GoogleNet
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 37: Simulation results with GoogleNet
7.86
6.75
9.23
5.39
2.8
2.95
3.41
2.71
2930.7
3582.59
4044.53
4708.29
Notes: 调整模型，看看是否能到达相同的精确度
bigger dataset ， same acc
同样类型的图片（红黄绿）

## Slide 38: Simulation results with GoogleNet
GPU calculation capacity(Theory)
Total MACs per second=CUDA cores * Frequency (Hz)*MACs per cycle per core * GPU Utilization
Frequency (Hz) during training: 2700MHz
CUDA cores: 16384(RTX4090)
GPU Utilization: 90%
Effective MACs per second: 3.981*10e12 per second
FashionMNIST picture in GoogleNet:
Model MACs: 1.52*10e9
Train Dataset: 60000
Total MACs: 9.12*10e13
Total forward time(Theory):
Time = Total MACs / Effective MACs per second = 2.29s
Actual Value: 9.8s

## Slide 39: Simulation results with All
Notes: explaination is important

## Slide 40: Simulation results with All
Set all the VGG model as test datasets
Take one VGG model as train datasets and others as test datasets

## Slide 41: Energy dispatch – case study
Tariff | Time slot | 
F1 | 08:00 – 20:00 | 0.45
F2 | 20:00 – 23:00 | 0.35
F3 | 23:00 – 08:00 | 0.25
Tariff | Time slot | 
F1 | 08:00 – 20:00 | 0.45
F2 | 20:00 – 23:00 | 0.35
F3 | 23:00 – 08:00 | 0.25
Set the duration of the training process from 23 to 32 hours.
Set the start time of the training process from 0 to 143 hours.
1. Parameters setting
Max. GPU power P(w) | 100 | 125 | 150 | 175 | 200 | 225 | 250
Appr. training time T(h) | 32 | 28 | 26 | 25 | 24 | 23 | 22
2. Simulations setting
 | Charge efficiency | Discharge efficiency | Self discharge efficiency
ESD | 0.9 | 0.9 | 0.005
ESD | 0.9 | 0.9 | 0.005
Notes: 暂时先不考虑太阳能的部分
用最优的方案，看看能剩多少钱，比较两种极端情况，计算最终能够节省下来的钱有多少能够用到安装太阳能电池板上
注意一下如果按照这个数据来进行计算的话要考虑开始时间，早上的话太阳能多，晚上的话太阳能少但是电价便宜

## Slide 42: Energy dispatch – case study
Minimum cost under different start time
PV_solar power at different time
If start training the model when the PV panels are just starting to generate electricity, the electricity cost will be the lowest.
Notes: 暂时先不考虑太阳能的部分
用最优的方案，看看能剩多少钱，比较两种极端情况，计算最终能够节省下来的钱有多少能够用到安装太阳能电池板上
注意一下如果按照这个数据来进行计算的话要考虑开始时间，早上的话太阳能多，晚上的话太阳能少但是电价便宜

## Slide 43: Energy dispatch – case study
Set the duration of the training process from 23 to 32 hours. The shorter the training time, the higher the cost.
Notes: 如果不卖电回去的话，看看结果
task is the priority, case that hour by hour that how much it storage and supply the data center

## Slide 44: Data center running at max power all the time
Start time at 9
Start time at 3
Start time at 15
Start time at 21
Start time at 27
Notes: add the money of the cost

## Slide 45: Structure of Thesis
Energy consumption monitor tools(codecarbon/nvidia-smi)
Model energy consumption on different hardwares
Different model energy consumption capture
Relationship between different setting(epoch, batch size and dataset)
Considering the model accuracy with different setting(model, epoch number)
Relationship between energy consumption and model
Training speed relationship with different frequency and voltage in hardware

## Slide 46: Thanks