## Slide 1: Analysis of the energy sustainability of Machine Learning algorithms
Students:
Yin Jun
Tutors:
Prof. Meo Michela
Prof. Vallero Greta
23/10/2023
First presentation

## Slide 2
+
Data Center
Model training request [1]
Max. GPU power P(w) | 100 | 125 | 150 | 175 | 200 | 225 | 250
Appr. training time T(h) | 32 | 28 | 26 | 25 | 24 | 23 | 22
Rate |  |  |  |  |  |  | 
Max. GPU power P(w) | 100 | 125 | 150 | 175 | 200 | 225 | 250
Appr. training time T(h) | 32 | 28 | 26 | 25 | 24 | 23 | 22
Rate |  |  |  |  |  |  | 
Power supply

## Slide 3: Energy dispatch
Objective function
(): electricity cost of each time slot by data center
(): power generated by solar panels
() : unit price generated by solar panels
(): power generated by grid
() : unit price generated by grid
(): power sold back to grid
() : unit price of sold back to grid
= 1 hour
Cost function
Notes: 暂时先不考虑太阳能的部分
用最优的方案，看看能剩多少钱，比较两种极端情况，计算最终能够节省下来的钱有多少能够用到安装太阳能电池板上
注意一下如果按照这个数据来进行计算的话要考虑开始时间，早上的话太阳能多，晚上的话太阳能少但是电价便宜

## Slide 4: Energy dispatch
Solar panels
s.t. :
(): power to supply the data center
(): power to restore to the battery
(): power sold back to grid
Grid
(): power to supply the data center
(): power to restore to the battery
ESD (energy storage device)
Charge efficiency : 85% ~ 95%
Discharge efficiency : 85% ~ 95%
Self discharge efficiency : 0.1% ~ 0.3%
Charge to data center:
Charge to grid:
Data center
+
Charge ESD
Back to grid
ESD power in each time slot
=0
(): training time [16, 14, 13, 12.5, 12, 11.5, 11]
(): supplied power to data center [100, 125, 150, 175, 200, 225, 250]

## Slide 5: Energy dispatch – case study
Tariff | Time slot | 
F1 | 08:00 – 20:00 | 0.45
F2 | 20:00 – 23:00 | 0.35
F3 | 23:00 – 08:00 | 0.25
Tariff | Time slot | 
F1 | 08:00 – 20:00 | 0.45
F2 | 20:00 – 23:00 | 0.35
F3 | 23:00 – 08:00 | 0.25
Set the duration of the training process from 23 to 32 hours.
Set the start time of the training process from 0 to 143 hours.
1. Parameters setting
Max. GPU power P(w) | 100 | 125 | 150 | 175 | 200 | 225 | 250
Appr. training time T(h) | 32 | 28 | 26 | 25 | 24 | 23 | 22
2. Simulations setting
 | Charge efficiency | Discharge efficiency | Self discharge efficiency
ESD | 0.9 | 0.9 | 0.005
ESD | 0.9 | 0.9 | 0.005
Notes: 暂时先不考虑太阳能的部分
用最优的方案，看看能剩多少钱，比较两种极端情况，计算最终能够节省下来的钱有多少能够用到安装太阳能电池板上
注意一下如果按照这个数据来进行计算的话要考虑开始时间，早上的话太阳能多，晚上的话太阳能少但是电价便宜

## Slide 6: Energy dispatch – case study
Minimum cost under different start time
PV_solar power at different time
If start training the model when the PV panels are just starting to generate electricity, the electricity cost will be the lowest.
Notes: 暂时先不考虑太阳能的部分
用最优的方案，看看能剩多少钱，比较两种极端情况，计算最终能够节省下来的钱有多少能够用到安装太阳能电池板上
注意一下如果按照这个数据来进行计算的话要考虑开始时间，早上的话太阳能多，晚上的话太阳能少但是电价便宜

## Slide 7: Energy dispatch – case study
Set the duration of the training process from 23 to 32 hours. The shorter the training time, the higher the cost.
Notes: 暂时先不考虑太阳能的部分
用最优的方案，看看能剩多少钱，比较两种极端情况，计算最终能够节省下来的钱有多少能够用到安装太阳能电池板上
注意一下如果按照这个数据来进行计算的话要考虑开始时间，早上的话太阳能多，晚上的话太阳能少但是电价便宜

## Slide 8: Thanks